德国徕卡显微镜指定代理商——

上海百贺仪器科技有限公司

电话：021-33587030

传真：021-33587020

Email：shbh17@126.com

详细资料，请致电上海百贺仪器公司索取！我们将提供更优质的服务！！

Leica

DMILM

Inverted Microscope

for Material Control

The optics

The optics are the heart of a microscope and decisive for the

quality of the information. Designed for incident light brightfield,

polarization contrast and fluorescence, the Leica DM ILM

microscope is compatible with all infinity high performance objectives

in the Leica range with M25 mm or RMS thread. Even

earlier types of Leica (Leitz) objectives with RMS thread can be

adapted for use on the Leica DM ILM.

N PLAN series FWD

N PLAN 2.5x/0.07 11.2 mm

N PLAN 5x/0.12 14.0 mm

N PLAN 10x/0.25 5.8 mm

N PLAN 20x/0.40 1.1 mm

N PLAN 50x/0.75 0.37 mm

N PLAN 100x/0.90 0.27 mm

PL FLUOTAR series

PL FLUOTAR 1.6x/0.05 1.54 mm

PL FLUOTAR 2.5x/0.07 9.2 mm

HC PL FLUOTAR 5x/0.15 12.0 mm

HC PL FLUOTAR 10x/0.30 11.0 mm

HC PL FLUOTAR 20x/0.50 1.27 mm

HC PL FLUOTAR 50x/0.80 0.5 mm

HC PL FLUOTAR 100x/0.90 0.3 mm

HC PL FLUOTAR 100x/1.30 OIL ∞/0 0.13 mm

PL APO series

PL APO 50x/0.90 0.28 mm

PL APO 100x/0.95 0.16 mm

PL APO 150x/0.95 0.20 mm

PL APO 250x/0.95 0.24 mm

with spacer ring 25/RMS

Objectives with long free working distances

PL FLUOTAR L 50x/0.55 8.0 mm

PL FLUOTAR L 100x/0.75 4.7 mm

with spacer ring 25/RMS

PLAN H 20x/0.40 12.6 mm

PLAN H 40x/0.60 7.1 mm